# TERMS OF REFERENCE SCOPE OF WORK

1. **Background**

uMngeni-uThukela Water (UUW) entered into a 12 months renewable Operation & Maintenance Contract for ten wastewater treatments plants (WWTP) with EThekwini Water Services (EWS). The contract has been extended for further 12 months. Two of these plants, namely, Amanzimtoti and Umhlathuzana WWTP require removal of sludge from the process in order to comply with discharge licence requirements and ensure that rivers are not contaminated. There was a contract in place for these two WWTPs, which expired in December 2024. EWS has always been transporting sludge from Amanzimtoti to Southern WWTP while Umhlathuzana WWTP was realising sewage sludge to Southern works through the Clover line, which was severely damaged by floods 2022.

1. **Description of goods/ services required.**

 The purpose of this procurement is to ensure loading and transportation of sewage sludge from Amanzimtoti and Umhlathuzana WWTPs to be off-loaded / discharged at Southern WWTP. 30 cubic meter road tanker is a requirement for this transportation.

1. **Deliverables/Key Outcomes.**

|  |  |
| --- | --- |
| **Description** | **Indicative date for delivery** |
| Loading and transportation of liquid sludge from Amanzimtoti for safe disposal at Southern Works. | Ongoing |
| Loading and transportation of liquid sludge from Amanzimtoti for safe disposal at Southern Works. | Ongoing |
|  |  |

1. **Contract term**

We anticipate that the Contract will commence [May 2025]. The anticipated Contract term and options to extend are 08 months.

1. **Other information**
2. We estimate the quantity to be delivered is 1736 loads and 320
3. We require the services to be delivered at Amanzimtoti and Umhlathuzana WWTW to Southern WWTW].
4. Payment will be monthly on invoice based on the number of loads transported
5. New Intellectual Property arising as a result of the Contract will be the property of UUW and EThekwini Municipality
6. **Mandatory documentation**
* PDP
* Drivers Licence.
* Tanker registration
* Hazchem certificate
1. **Other documents (In addition to this Bid document, the documents listed below form part of this Bid:**
2. PDP
3. Drivers Licence.
4. Tanker registration
5. Hazchem certificate
6. **Special conditions**
7. N/A
8. **Pricing**
9. The bidder shall provide the price proposal as detailed in SBD 3.1
10. The bidders’s price must be fully inclusive, and each item must be clearly specified.
11. All additional costs must be clearly specified and included in the total quotation price, (e.g. transport, labour, etc.).
12. All prices must be VAT inclusive.
13. The bidder is responsible for all the cost that they shall incur related to the preparation and submission of the quotation.